### Building Structural Inspection Report

7245 Covenant Lane, Columbia

Inspection Date:

February 27, 2008

Prepared For:

Mr. Fred and Mrs. Stephanie Sheehy

Prepared By:

Highland Home Inspections, Inc.

12709 Hall Shop Road

Highland, MD 20777

301-854-3634

office@hhinspect.com

Inspector:

Richard S. Belliveau

# Report Overview

## THE HOUSE IN PERSPECTIVE

This is an average quality home.  Some of the systems of the home are aging and will require updating over time.  As with all homes, ongoing maintenance is also required.  Despite the older systems, the improvements that are recommended in this report are not considered unusual for a home of this age and location.  Please remember that there is no such thing as a perfect home.

## CONVENTIONS USED IN THIS REPORT

For your convenience, the following conventions have been used in this report.

Major Concern: a system or component which is considered significantly deficient or is unsafe. Significant deficiencies need to be corrected and, except for some safety items, are likely to involve significant expense.

Safety Issue:  denotes a condition that is unsafe and in need of prompt attention.

Repair:  denotes a system or component which is missing or which needs corrective action to assure proper and reliable function.

Improve:  denotes improvements which are recommended but not required.

Monitor:  denotes a system or component needing further investigation and/or monitoring in order to determine if repairs are necessary.  It may also denote items that are reaching their normal life expectancy or show indications that they may require repair or replacement some time in the near future.

## IMPROVEMENT RECOMMENDATION HIGHLIGHTS / summary

The following is a synopsis of the potentially significant improvements that should be budgeted for over the short term.  Other significant improvements, outside the scope of this inspection, may also be necessary.  Please refer to the body of this report, including the General Advice page at the end of the report, for further details on these and other recommendations.

Major Concerns

- Major Concern:  The air conditioning system is older and beyond the end of its expected life.  It will require a higher level of maintenance, and may be more prone to major component breakdown. Predicting the frequency or time frame for repairs on any mechanical device is virtually impossible. If the compressor fails, or if breakdowns become chronic, replacing the entire system may be more cost-effective than continuing to undertake repairs.  I am calling this a Major Concern because of the age of the unit and the probable need for replacement in the near future; not because of an observed problem.

Safety Issues

- Safety Issue:  The older wiring noted in the main panel is aluminum and as such represents a potential fire hazard.  The newer circuits were copper.  Aluminum wire was used commonly 30-40 years ago as an alternative to copper.   It should be pointed out that the aluminum wiring itself is a perfectly acceptable electrical conductor.  However, the connection points can experience overheating or become loose due to the properties of aluminum wiring.  The best solution is to have special crimp connectors, produced by AMP, Corp. and approved by the Consumer Product Safety Commission, installed by a qualified installer to ensure safe operation of these circuits.  During installation of this special hardware, all connections should be checked for signs of damage or overheating. Upon fitting the wiring with the special connectors, the wiring is considered to be safe.  Many homeowners choose to have an electrician perform a similar type of upgrade using traditional wire nuts with anti-oxidant grease rather than the crimp connectors.  While this is a common upgrade, and undoubtedly reduces the risk, it is my understanding that it is not as effective as the crimp connectors described above.  A third alternative frequently used by homeowners is to install COLAR (COpper/ALuminum-Revised) outlets and switches which are rated for use with aluminum wire.  I was unable to determine to what extent any upgrades have been accomplished during the inspection.  Be advised that some insurance companies will not insure homes that have aluminum wire.  Since this home has aluminum wire, I recommend checking with your insurance company.

- Safety Issue:  Studies have shown that smoke detectors do not typically last longer than about 10 years.  Some of the detectors in this home appear to be original and I recommend immediate replacement (some have been upgraded).  Electrically powered detectors with a battery backup are the safest.

- Repair, Safety Issue:  The installation of the wood stove does not appear to have been professionally performed.  The clearance requirements listed on the date plate are not satisfied.  Also, the unit was installed on the carpet.  This seems to be satisfactory, but using a non-flammable base would be an improvement.  This represents a potential fire hazard. It is recommended that a specialist be consulted for a further evaluation of this condition and the remedies available.

Repair Items

- Improve, Repair:  The siding at the front of the house is in the dirt and mulch which is facilitates insect infiltration.  I recommend pulling the dirt and mulch back such that the foundation wall is exposed.  Any damage to the siding should be repaired.  Care should be taken to not create a reverse grade issue such that water drains toward the house.  If necessary, dirt should be removed to provide for proper drainage while at the same time keeping it off the siding.  I was unable to determine if there is any damage behind the siding in this area since the wall on the back side was finished.  Similarly, the driveway was poured on top of the siding on the right side.  This makes this area vulnerable to moisture and insects as well, but obviously would be much more difficult to modify.  At this point, I recommend keeping the joint between the driveway and siding sealed to prevent water infiltration.

- Repair:  The sump pump discharges water near the foundation.  I recommend extending the discharge so that it extends least 4-5 feet from the foundation.  Foundation leakage adjacent to a sump pump discharge drain can occur depending on the amount of water that comes out.

- Repair:  The light in various locations are inoperative (e.g. exterior, lamppost, foyer fan). If the bulbs are not blown, the circuit should be repaired.

- Repair, Safety Issue:  A ground fault circuit interrupter (GFCI) outlet in the finished basement is inoperative. This outlet should be replaced.

- Repair, Safety Issue:  The installation of a ground fault circuit interrupter (GFCI) is recommended for the bathrooms if they are not wired to the inoperative GFCI in the basement.

- Repair, Safety Issue:  Improperly wired outlet(s) (e.g. reversed polarity or ungrounded) in the kitchen (rear wall) should be investigated by a qualified electrician and repaired as necessary.

- Monitor, Repair:  The ceiling fan in the foyer may be wired to what appears to be a dimmer switch on the wall (it was inoperative at the time of the inspection).  Dimmer switches are not rated for use with electric motors.  I recommend confirming that this is a dimmer switch and if so, replacing it with a normal switch or a rheostat designed for use with fans.

- Repair:  There is evidence of condensate leakage (water under the chimney fan inside the furnace compartment) from the chimney fan, PVC pipe connections, or low point drain lines from the high efficiency furnace.  This leakage should be corrected.

- Improve: Repair:   Supply air flow is less than ideal in the kitchen because the kitchen cabinet was placed on top of the vent.  This is undoubtedly not very good for the cabinet either.  I recommend relocating the cabinet or register.

- Repair: Safety Issue:  It appears that the installation of some of the plumbing upgrades may have been done by an amateur.

- The static water pressure of the supply plumbing system is somewhat low with multiple fixtures running.  If desired, I recommend increasing the pressure at the reducing valve in the basement.

- I was unable to confirm that the waste piping for the bathroom is properly vented.  I recommend having these items checked and repaired by a qualified plumber.

- The toilet in the basement is loose.  It is possible that the toilet can simply be secured.  However, a loose toilet can result in a distorted wax ring.  For that reason, I recommend removing the toilet, replacing the wax ring and resecuring the toilet.  I did not observe any leakage below the toilet during the inspection.

- The drain stopper for the sink in the basement does not work well (the sink drains slowly) and could be adjusted for better performance.

- The hot water at the second floor bathroom sink faucet is inoperative.  Also, the faucets are very stiff.  I recommend replacing the faucet.

- The vanity top in the second floor bathroom is loose and should be secured to the cabinet.  A loose vanity top can result in plumbing leaks.

- Be advised that the water heater is what is referred to as “orphaned”.  Originally, the furnace and water heater vented through the chimney up through the roof.  When the new high efficiency furnace was installed, the old style furnace flue was abandoned because PVC flues were used.  This means that the water heater alone is now using the original flue up to the roof.  The concern with this is that the flue was originally sized for both gas burning appliances.  The water heater alone, may not make enough hot combustion air to provide the buoyancy necessary for the exhaust to exit the flue above the roof.  The flue will be full of cold air in the winter when the water heater first starts up.  The water heater vented properly during the inspection, but this should be monitored.  If improper venting occurs, a smaller vent should be installed inside the larger one.

- There is a 3/8th inch copper pipe entering the sewer pipe behind the basement shower.  This is very unusual and may represent a safety concern depending on what it is for (I was unable to determine its purpose).  I recommend having this removed and re-plumbed if necessary.

- The chimney for the water heater venting system is not properly secured at each connection.. Each flue section should be secured with at least two screws.  This is a potential safety concern that should be addressed promptly.

- Repair:  There is a leak from the packing for the main water isolation valve at the front foundation wall.

- Repair:  Moisture penetration was observed at the right rear corner of the basement, near the sump pit.  Elevated moisture levels were detected when measured with a moisture meter.  It should be understood that it is impossible to predict the severity or frequency of moisture penetration on a one-time visit to a home. Virtually all basements exhibit signs of moisture penetration and virtually all basements will indeed leak at some point in time. The visible evidence is not unusual for a home of this age, construction and location. Further monitoring of the foundation will be required to determine what improvements, if any, will be required. Basement leakage rarely affects the structural integrity of a home.  The vast majority of basement leakage problems are the result of insufficient control of storm water at the surface. The ground around the house should be sloped to encourage water to flow away from the foundations. Gutters and downspouts should act to collect roof water and drain the water at least five (5) feet from the foundation or into a functional storm sewer. Downspouts that are clogged or broken below grade level, or that discharge too close to the foundation are the most common source of basement leakage. Please refer to the Roofing and Exterior sections of the report for more information.  In the event that basement leakage problems are experienced, lot and roof drainage improvements should be undertaken as a first step. Please beware of contractors who recommend expensive solutions. Excavation, damp-proofing and/or the installation of drainage tiles should be a last resort. In some cases, however, it is necessary.

- Repair:  Evidence of what appears to be mold was observed in the right rear corner of the basement near the sump pit. This condition is usually the result of elevated moisture levels. I recommend removal of all visible mold.  If you are concerned about mold, I recommend having it tested.  Also, see the following websites: http://www.epa.gov/mold/moldguide.html, and http://www.bt.cdc.gov/disasters/mold/protect.asp.

- Repair:  The railing for the stairway in the foyer is loose.  The rail should be tightened.

- Repair:  The only double paned windows (two sashes in the finished basement) show evidence of condensation between the glass panels. This is caused by a failure of the seal between the glass panels.  This can be repaired by a qualified window repair technician or the window can be replaced.

Improvement items

- Improve:  The front hose bib is loose and twists when it is operated.  I recommend securing the valve so the pipe does not break from use.  The valve should also  be sealed at the wall to prevent air infiltration.

- Improve:  There is evidence of vermin activity (mice) in the basement above the dropped ceiling. If you are concerned about this, a pest control specialist should be consulted for treatment and control advice.

- Improve:  Some doors do not shut and/or latch properly; for example: the front center bedroom and closet.  The doors should be trimmed if necessary, or the hinges and striker plate hardware should be adjusted as necessary so that each of the doors shuts and latches.

- Improve:  Some of the closet doors do not work well because the hardware is worn out or needs to be adjusted.  I recommend adjusting or replacing the hardware as necessary to make the doors work properly. The closet door in the front right bedroom is upside down.  The hinges and latches in the basement bedroom closet are not correct for this kind of door.

- Improve:  The sink is stained and marred to the point where replacement would be a good upgrade.

- Improve:  The door bell is inoperative.

Items to Monitor

- Monitor:  The main drain line leading from the house to the city sewer line, which is beneath the yard can not be evaluated during the inspection.  Although no clogs were evident at the time of the inspection, it must be assumed that the drain line is original which means it should be considered to be near the end of its useful life.  The main drain line can fail because of crushing, clogging or tree roots.

- Monitor:  The water heater is an old unit that may be approaching the end of its useful life. It would be wise to budget for a new unit. One cannot predict with certainty when replacement will become necessary.

- Monitor:  The front and rear hose bibs were secured for the winter and could not be checked.  I recommend checking them as soon as the weather permits.

- Monitor:  The windows are older single paned horizontal sliding windows with no storm windows and they are in marginal condition.  Their operation could be improved by replacing the rollers/glides and improving the weather-stripping. It is important to keep the windows well caulked on the outside to reduce air infiltration.  New double glazed vinyl windows would be a good long term upgrade, but these windows should provide many more years of service if well maintained.

- Monitor:  Similarly, the sliding glass door in the finished basement is old. While replacement does not represent a high priority, it may be a logical long term goal. The function and efficiency of a new door would be a substantial improvement.  The rollers of the sliding glass door in the finished basement could be improved to operate freely.

- Monitor:  Some window screens were damaged, missing or removed. The owner should be consulted regarding any screens that may be in storage.

- Monitor:  The clothes washer and dryer are older. While replacement is not needed right away, it would be wise to budget for a new set.  In the interim, a higher level of maintenance can be expected.

- Monitor:  The icemaker lid inside the freezer is missing. Also, the kick plate is off.

## THE SCOPE OF THE INSPECTION

All components designated for inspection in the ASHI Standards of Practice are inspected, except as may be noted in the “Limitations of Inspection” sections within this report.

It is the goal of the inspection to put a home buyer in a better position to make a buying decision.  Not all improvements will be identified during this inspection.  Unexpected repairs should still be anticipated.  The inspection should not be considered a guarantee or warranty of any kind.  Maryland law requires the following additional disclosure:

“AN INSPECTION IS INTENDED TO ASSIST IN EVALUATION OF THE OVERALL CONDITION OF A BUILDING.  THE INSPECTION IS BASED ON OBSERVATION OF THE VISIBLE AND APPARENT CONDITION OF THE BUILDING AND ITS COMPONENTS ON THE DATE OF INSPECTION.  THE RESULTS OF THIS HOME INSPECTION ARE NOT INTENDED TO MAKE ANY REPRESENTATION REGARDING LATENT OR CONCEALED DEFECTS THAT MAY EXIST, AND NO WARRANTY OR GUARANTY IS EXPRESSED OR IMPLIED.  IF YOUR HOME INSPECTOR IS NOT A LICENSED STRUCTURAL ENGINEER OR OTHER PROFESSIONAL WHOSE LICENSE AUTHORIZES THE RENDERING OF AN OPINION AS TO THE STRUCTURAL INTEGRITY OF A BUILDING OR ITS OTHER COMPONENT PARTS, YOU MAY BE ADVISED TO SEEK A PROFESSIONAL OPINION AS TO ANY DEFECTS OR CONCERNS MENTIONED IN THIS REPORT.”

Please refer to the pre-inspection contract for a full explanation of the scope of the inspection.

WEATHER CONDITIONS

Dry weather conditions prevailed at the time of the inspection.  Wet weather conditions have been experienced in the days leading up to the inspection.  The estimated outside temperature was 35 degrees F.

# Structure

## description of Structure

Foundation: 	Concrete Block  Basement Configuration

Columns: 	Steel

Floor Structure: 	Wood Joists

Wall Structure: 	Wood Frame

Ceiling Structure: 	Wood Joists

Roof Structure: 	Trusses  Plywood Sheathing

## Structure observations

The construction of the home is considered to be good quality.  The materials and workmanship, where visible, are average.  The span of all visible joists appear to be within acceptable limits.  The building exhibits no evidence of substantial structural movement.  Typical minor flaws were detected.  No improvement to structural components is considered necessary at this time.  As with most homes of this age and location, some liberties are taken with good building practice and with the quality of materials employed.  This does not represent a major structural concern.

### recommendations / observations

- None.

## limitations of Structure inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- The basement was finished.  As a result, I was unable to gain access to any structural components, including the foundations and floor/ceiling framing in the finished areas.

- The foundation walls in the unfinished portion of the basement were insulated.  Therefore the walls in these areas were not accessible for inspection.

- Structural components concealed behind finished surfaces could not be inspected.

- Only a representative sampling of visible structural components were inspected.

- Furniture and/or storage restricted access to some structural components.

- Engineering or architectural services such as calculation of structural capacities, adequacy, or integrity are not part of a home inspection.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Roofing

## description of Roofing

Roof Covering: 	Asphalt Shingle

Roof Flashings: 	Metal

Chimneys: 	Metal

Roof Drainage System: 	Aluminum  Downspouts discharge above grade

Skylights: 	None

Method of Inspection: 	Walked Roof

## Roofing observations

The shingles are considered to be in generally good condition.  I estimate the shingles to be less than 10 years old and would expect at least 5 more years of life for them.  Roof flashing details appear to be in good order as evidenced by the lack of leaks in the attic.  During re-roofing, it appears that the old roofing materials were removed before the installation of the existing roofing materials.  The gutters and downspouts appear to be in generally good condition.  The gutters and downspouts need to be cleaned.  The chimney does not show signs of significant deterioration.

### recommendations / observations

- Improve:  The flashing associated with the metal chimney is not well secured at the lower edge.  I recommend resecuring it. There was no leakage noted in the attic.

- Improve:  The gutters and downspouts require cleaning.

- Monitor:  The leading edge of the wood roof sheathing (behind the gutters) is exposed because drip edge flashing was not used.  Drip edging is a metal strip that is installed under the shingles and over the wood to protect the edge of the roof sheathing.  There was no sign of significant deterioration, but the installation of drip edging would be a good upgrade.  It is not a difficult or expensive installation.

## limitations of Roofing inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- Not all of the underside of the roof sheathing is inspected for evidence of leaks.

- Evidence of prior leaks may be disguised by interior finishes.

- Estimates of remaining roof life are approximations only and do not preclude the possibility of leakage. Leakage can develop at any time and may depend on rain intensity, wind direction, ice build up, and other factors.

- Antennae, chimney/flue interiors which are not readily accessible are not inspected and could require repair.

- Roof inspection may be limited by access, condition, weather, or other safety concerns.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Exterior

## description of Exterior

Wall Covering: 	Vinyl Siding

Eaves, Soffits, And Fascias: 	Aluminum/Vinyl Facias and Soffits

Exterior Doors: 	Wood  Vinyl Sliding Door

Window/Door Frames and Trim: 	Metal

Entry Driveways: 	Asphalt

Entry Walkways And Patios: 	Brick

Porches, Decks, Steps, Railings: 	Pressure Treated Wood

Surface Drainage: 	Graded Away From House

Retaining Walls: 	Block

Fencing: 	Wood

## Exterior observations

The exterior siding that has been installed on the house has relatively low maintenance requirements.  The window frames are also made from metal and are low maintenance.  The aluminum and/or vinyl soffits and fascia are a low-maintenance feature of the exterior of the home.  The lot drainage was good, conducting surface water away from the building.  The decking is constructed from pressure treated wood.  The driveway and walkways are in good condition.  The exterior of the home is generally in good condition.

### recommendations / observations

- Improve, Repair:  The siding at the front of the house is in the dirt and mulch which is facilitates insect infiltration.  I recommend pulling the dirt and mulch back such that the foundation wall is exposed.  Any damage to the siding should be repaired.  Care should be taken to not create a reverse grade issue such that water drains toward the house.  If necessary, dirt should be removed to provide for proper drainage while at the same time keeping it off the siding.  I was unable to determine if there is any damage behind the siding in this area since the wall on the back side was finished.  Similarly, the driveway was poured on top of the siding on the right side.  This makes this area vulnerable to moisture and insects as well, but obviously would be much more difficult to modify.  At this point, I recommend keeping the joint between the driveway and siding sealed to prevent water infiltration.

- Improve:  The gate and/or latch mechanism for the fence needs adjustment to function properly.  The same is true of the doors to the shed.

- Repair:  The sump pump discharges water near the foundation.  I recommend extending the discharge so that it extends least 4-5 feet from the foundation.  Foundation leakage adjacent to a sump pump discharge drain can occur depending on the amount of water that comes out.

- Improve:  The front hose bib is loose and twists when it is operated.  I recommend securing the valve so the pipe does not break from use.  The valve should also  be sealed at the wall to prevent air infiltration.

## limitations of Exterior inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- A representative sample of exterior components was inspected rather than every occurrence of components.

- The inspection does not include an assessment of geological, geotechnical, or hydrological conditions, or environmental hazards.

- Screening, shutters, awnings, or similar seasonal accessories, fences, recreational facilities, outbuildings, seawalls, break-walls, docks, erosion control and earth stabilization measures are not inspected unless specifically agreed-upon and documented in this report.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Electrical

## description of Electrical

Size of Electrical Service: 	120/240 Volt Main Service - Service Size: 150 Amp

Service Drop: 	Underground

Service Entrance Conductors: 	Aluminum

Main Disconnects: 	Breakers  Location: Basement

Panel Rating: 	150 Amps

Sub-Panel(s): 	None

Grounding: 	Aluminum Water Pipe Ground

Distribution Wiring: 	Copper  Aluminum

Wiring Method: 	Non-Metallic Cable "Romex"

Switches & Receptacles: 	Grounded

Ground Fault Circuit Interrupters: 	Basement, Kitchen

Arc Fault Circuit Interrupters: 	None

Smoke Detectors: 	Present

## Electrical observations

The size of the electrical service is sufficient for typical single family needs.  The electrical panel is well arranged and all fuses/breakers are properly sized.  Generally speaking, the electrical system is in good order.  All outlets and light fixtures that were tested operated satisfactorily except as noted below.  The distribution of electricity within the home is good.  All 3-prong outlets that were tested were appropriately grounded except as noted below.  Ground fault circuit interrupter (GFCI) devices have been provided in some areas of the home. These devices are extremely valuable, as they offer an extra level of shock protection. All GFCI’s that were tested responded properly except as noted below.  Dedicated 220 volt circuits have been provided for all 220 volt appliances within the home.  The original visible wiring within the home is aluminum which is potentially problematic.  I recommend that any electrical repairs or improvements be conducted by a qualified electrician.

### recommendations / observations

- Safety Issue:  The older wiring noted in the main panel is aluminum and as such represents a potential fire hazard.  The newer circuits were copper.  Aluminum wire was used commonly 30-40 years ago as an alternative to copper.   It should be pointed out that the aluminum wiring itself is a perfectly acceptable electrical conductor.  However, the connection points can experience overheating or become loose due to the properties of aluminum wiring.  The best solution is to have special crimp connectors, produced by AMP, Corp. and approved by the Consumer Product Safety Commission, installed by a qualified installer to ensure safe operation of these circuits.  During installation of this special hardware, all connections should be checked for signs of damage or overheating. Upon fitting the wiring with the special connectors, the wiring is considered to be safe.  Many homeowners choose to have an electrician perform a similar type of upgrade using traditional wire nuts with anti-oxidant grease rather than the crimp connectors.  While this is a common upgrade, and undoubtedly reduces the risk, it is my understanding that it is not as effective as the crimp connectors described above.  A third alternative frequently used by homeowners is to install COLAR (COpper/ALuminum-Revised) outlets and switches which are rated for use with aluminum wire.  I was unable to determine to what extent any upgrades have been accomplished during the inspection.  Be advised that some insurance companies will not insure homes that have aluminum wire.  Since this home has aluminum wire, I recommend checking with your insurance company.

- Safety Issue:  Studies have shown that smoke detectors do not typically last longer than about 10 years.  Some of the detectors in this home appear to be original and I recommend immediate replacement (some have been upgraded).  Electrically powered detectors with a battery backup are the safest.

- Repair:  The light in various locations are inoperative (e.g. exterior, lamppost, foyer fan). If the bulbs are not blown, the circuit should be repaired.

- Repair, Safety Issue:  A ground fault circuit interrupter (GFCI) outlet in the finished basement is inoperative. This outlet should be replaced.

- Repair, Safety Issue:  The installation of a ground fault circuit interrupter (GFCI) is recommended for the bathrooms if they are not wired to the inoperative GFCI in the basement.

- Repair, Safety Issue:  Improperly wired outlet(s) (e.g. reversed polarity or ungrounded) in the kitchen (rear wall) should be investigated by a qualified electrician and repaired as necessary.

- Monitor, Repair:  The ceiling fan in the foyer may be wired to what appears to be a dimmer switch on the wall (it was inoperative at the time of the inspection).  Dimmer switches are not rated for use with electric motors.  I recommend confirming that this is a dimmer switch and if so, replacing it with a normal switch or a rheostat designed for use with fans.

## limitations of Electrical inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- Electrical components concealed behind finished surfaces are not inspected.

- Only a representative sampling of outlets and light fixtures were tested.

- Furniture and/or storage restricted access to some electrical components which may not be inspected.

- The inspection does not include remote control devices, alarm systems and components, low voltage wiring, systems, and components, ancillary wiring, systems, and other components which are not part of the primary electrical power distribution system.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Heating

## description of Heating

Energy Source: 	Gas

Heating System Type: 	Forced Air Furnace  Size: 74 K BTU/Hr.  Age: 10 Years

Vents, Flues, Chimneys: 	Plastic (PVC)

Heat Distribution Methods: 	Ductwork

Other Components: 	Humidifier  Electronic Air Cleaner

## Heating observations

The heating system is in generally good condition.  This is a high efficiency heating system.  Adequate heating capacity is provided by the system.  Heat distribution within the home is adequate.  The heating system shows no visible evidence of major defects.

### recommendations / observations

- Repair:  There is evidence of condensate leakage (water under the chimney fan inside the furnace compartment) from the chimney fan, PVC pipe connections, or low point drain lines from the high efficiency furnace.  This leakage should be corrected.

- Improve: Repair:   Supply air flow is less than ideal in the kitchen because the kitchen cabinet was placed on top of the vent.  This is undoubtedly not very good for the cabinet either.  I recommend relocating the cabinet or register.

- Improve:  Given the age of the house and the dirt observed in the ducting, duct cleaning is recommended.

- Monitor:  I was unable to verify that the condensate pump is working.  I recommend verifying its operation before each heating season.

## limitations of Heating inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- The adequacy of heat supply or distribution balance is not inspected.

- The interior of flues or chimneys which are not readily accessible are not inspected.

- The furnace heat exchanger, humidifier, or dehumidifier, and electronic air filters are not inspected.

- Solar space heating equipment/systems are not inspected.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Cooling / Heat Pumps

## description of Cooling / Heat Pumps

Energy Source: 	Electricity

Central System Type: 	Air Cooled Central Air Conditioning  Size: Not Recorded  Age: Approx 30 Years

Filter Size:

Other Components: 	Electronic Air Cleaner

## Cooling / Heat Pumps observations

The air conditioner could not be tested because the outdoor temperature was below 60-65 degrees F.  The capacity and configuration of the system should be sufficient for the home.

### recommendations / observations

- Major Concern:  The air conditioning system is older and beyond the end of its expected life.  It will require a higher level of maintenance, and may be more prone to major component breakdown. Predicting the frequency or time frame for repairs on any mechanical device is virtually impossible. If the compressor fails, or if breakdowns become chronic, replacing the entire system may be more cost-effective than continuing to undertake repairs.  I am calling this a Major Concern because of the age of the unit and the probable need for replacement in the near future; not because of an observed problem.

- Monitor:  I was unable to run the air conditioner because the outdoor temperature was below 60-65 degrees F.  I recommend checking it as soon as the weather permits.  If you are concerned about this, I recommend having it serviced by a qualified HVAC technician.

## limitations of Cooling / Heat Pumps inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- Window mounted air conditioning units are not inspected.

- The cooling supply adequacy or distribution balance are not inspected.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Insulation / Ventilation

## description of Insulation / Ventilation

Attic Insulation: 	R20 Fiberglass in Main Attic

Roof Cavity Insulation: 	None

Exterior Wall Insulation: 	Not Visible

Basement Wall Insulation: 	R-11 Fiberglass

Floor Cavity Insulation: 	None

Vapor Retarders: 	Kraft Paper

Roof Ventilation: 	Gable Vents

Other Components:	Powered Fan

## Insulation / Ventilation observations

As is typical of homes of this age and construction, insulation levels are relatively modest.  Caulking and weather-stripping around doors, windows and other exterior wall openings will help to maintain weather tightness and reduce energy costs.

### recommendations / Energy saving Suggestions

- Monitor:  Insulation improvements in the attic may be cost effective, depending on the anticipated term of ownership.

- Monitor:  The powered fan in the attic could not be tested because it was too cold for the thermostat to turn on.  I recommend verifying operation when the attic temperatures are warm enough.

## limitations of Insulation / Ventilation inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- Insulation/ventilation type and levels in concealed areas are not inspected. Insulation and vapor barriers are not disturbed and no destructive tests (such as cutting openings in walls to look for insulation) are performed.

- Potentially hazardous materials such as Asbestos and Urea Formaldehyde Foam Insulation (UFFI) cannot be positively identified without a detailed inspection and laboratory analysis.  This is beyond the scope of the inspection.

- An analysis of indoor air quality is not part of our inspection unless explicitly contracted-for and discussed in this or a separate report.

- Any estimates of insulation R values or depths are rough average values.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Plumbing

## description of Plumbing

Water Supply Source: 	Public Water Supply

Service Pipe to House: 	Copper

Main Water Valve Location: 	Front Wall of Basement

Interior Supply Piping: 	Copper

Waste and Vent System: 	PVC

Water Heater: 	Gas  Size: 40 Gallons  Age: 23 Years

Fuel Shut-Off Valves: 	Exterior at Meter

Other Components: 	Sump Pump  Radon Fan

## Plumbing observations

The plumbing system is showing signs of age. Amateur workmanship was also prevalent.  The piping system within the home, for both supply and waste, is a good quality system, but updating the system will be required over time.  The water pressure supplied to the fixtures is  above average. Only a slight drop in flow was experienced when two fixtures were operated simultaneously.  I recommend that all plumbing repairs be conducted by a qualified plumber.

### recommendations / observations

- Repair: Safety Issue:  It appears that the installation of some of the plumbing upgrades may have been done by an amateur.

- The static water pressure of the supply plumbing system is somewhat low with multiple fixtures running.  If desired, I recommend increasing the pressure at the reducing valve in the basement.

- I was unable to confirm that the waste piping for the bathroom is properly vented.  I recommend having these items checked and repaired by a qualified plumber.

- The toilet in the basement is loose.  It is possible that the toilet can simply be secured.  However, a loose toilet can result in a distorted wax ring.  For that reason, I recommend removing the toilet, replacing the wax ring and resecuring the toilet.  I did not observe any leakage below the toilet during the inspection.

- The drain stopper for the sink in the basement does not work well (the sink drains slowly) and could be adjusted for better performance.

- The hot water at the second floor bathroom sink faucet is inoperative.  Also, the faucets are very stiff.  I recommend replacing the faucet.

- The vanity top in the second floor bathroom is loose and should be secured to the cabinet.  A loose vanity top can result in plumbing leaks.

- Be advised that the water heater is what is referred to as “orphaned”.  Originally, the furnace and water heater vented through the chimney up through the roof.  When the new high efficiency furnace was installed, the old style furnace flue was abandoned because PVC flues were used.  This means that the water heater alone is now using the original flue up to the roof.  The concern with this is that the flue was originally sized for both gas burning appliances.  The water heater alone, may not make enough hot combustion air to provide the buoyancy necessary for the exhaust to exit the flue above the roof.  The flue will be full of cold air in the winter when the water heater first starts up.  The water heater vented properly during the inspection, but this should be monitored.  If improper venting occurs, a smaller vent should be installed inside the larger one.

- There is a 3/8th inch copper pipe entering the sewer pipe behind the basement shower.  This is very unusual and may represent a safety concern depending on what it is for (I was unable to determine its purpose).  I recommend having this removed and re-plumbed if necessary.

- The chimney for the water heater venting system is not properly secured at each connection.. Each flue section should be secured with at least two screws.  This is a potential safety concern that should be addressed promptly.

- Repair:  There is a leak from the packing for the main water isolation valve at the front foundation wall.

- Monitor:  The main drain line leading from the house to the city sewer line, which is beneath the yard can not be evaluated during the inspection.  Although no clogs were evident at the time of the inspection, it must be assumed that the drain line is original which means it should be considered to be near the end of its useful life.  The main drain line can fail because of crushing, clogging or tree roots.

- Monitor:  Be advised that the basement shower is awkward in that a neo-angle unit was used alongside a wall, making it difficult to access.  The shower curtain also does not line up with the unit which will make it challenging to keep water in the unit.

- Monitor:  The water heater is an old unit that may be approaching the end of its useful life. It would be wise to budget for a new unit. One cannot predict with certainty when replacement will become necessary.

- Monitor:  The front and rear hose bibs were secured for the winter and could not be checked.  I recommend checking them as soon as the weather permits.

- Improve:  The bathtub should be regrouted and caulked where grout is missing and the caulk is cracked, deteriorated and/or missing.  It is important to keep the grout in good condition and the joint where the tile meets the tub well caulked to prevent water infiltration behind the tile.

- Monitor, Safety Issue:  The water heater temperature should be kept at a setting such that accidental scalding is minimized.  Families with small children should be especially aware of this.

## limitations of Plumbing inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions:

- Portions of the plumbing system concealed by finishes and/or storage (below sinks, etc.), below the structure, or beneath the ground surface are not inspected.

- Water quantity and water quality are not tested unless explicitly contracted-for and discussed in this or a separate report.

- Clothes washing machine connections are not inspected.

- Interiors of flues or chimneys which are not readily accessible are not inspected.

- Water conditioning systems, solar water heaters, fire and lawn sprinkler systems, and private waste disposal systems are not inspected unless explicitly contracted-for and discussed in this or a separate report.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Interior

## description of Interior

Wall And Ceiling Materials: 	Drywall

Floor Surfaces: 	Carpet  Tile  Vinyl/Resilient  Wood

Window Type(s) & Glazing: 	Horizontal Sliding

Doors: 	Wood-Hollow Core

## Interior observations

On the whole, the interior finishes of the home are in below average condition. Typical minor flaws were observed in some areas.  The windows and doors are low quality and will need upgrading over time.  The floors of the home are relatively level and walls are relatively plumb.

### recommendations / observations

- Repair:  Moisture penetration was observed at the right rear corner of the basement, near the sump pit.  Elevated moisture levels were detected when measured with a moisture meter.  It should be understood that it is impossible to predict the severity or frequency of moisture penetration on a one-time visit to a home. Virtually all basements exhibit signs of moisture penetration and virtually all basements will indeed leak at some point in time. The visible evidence is not unusual for a home of this age, construction and location. Further monitoring of the foundation will be required to determine what improvements, if any, will be required. Basement leakage rarely affects the structural integrity of a home.  The vast majority of basement leakage problems are the result of insufficient control of storm water at the surface. The ground around the house should be sloped to encourage water to flow away from the foundations. Gutters and downspouts should act to collect roof water and drain the water at least five (5) feet from the foundation or into a functional storm sewer. Downspouts that are clogged or broken below grade level, or that discharge too close to the foundation are the most common source of basement leakage. Please refer to the Roofing and Exterior sections of the report for more information.  In the event that basement leakage problems are experienced, lot and roof drainage improvements should be undertaken as a first step. Please beware of contractors who recommend expensive solutions. Excavation, damp-proofing and/or the installation of drainage tiles should be a last resort. In some cases, however, it is necessary.

- Repair:  Evidence of what appears to be mold was observed in the right rear corner of the basement near the sump pit. This condition is usually the result of elevated moisture levels. I recommend removal of all visible mold.  If you are concerned about mold, I recommend having it tested.  Also, see the following websites: http://www.epa.gov/mold/moldguide.html, and http://www.bt.cdc.gov/disasters/mold/protect.asp.

- Improve:  There is evidence of vermin activity (mice) in the basement above the dropped ceiling. If you are concerned about this, a pest control specialist should be consulted for treatment and control advice.

- Repair:  The railing for the stairway in the foyer is loose.  The rail should be tightened.

- Monitor:  The windows are older single paned horizontal sliding windows with no storm windows and they are in marginal condition.  Their operation could be improved by replacing the rollers/glides and improving the weather-stripping. It is important to keep the windows well caulked on the outside to reduce air infiltration.  New double glazed vinyl windows would be a good long term upgrade, but these windows should provide many more years of service if well maintained.

- Monitor:  Similarly, the sliding glass door in the finished basement is old. While replacement does not represent a high priority, it may be a logical long term goal. The function and efficiency of a new door would be a substantial improvement.  The rollers of the sliding glass door in the finished basement could be improved to operate freely.

- Repair:  The only double paned windows (two sashes in the finished basement) show evidence of condensation between the glass panels. This is caused by a failure of the seal between the glass panels.  This can be repaired by a qualified window repair technician or the window can be replaced.

- Monitor:  Some window screens were damaged, missing or removed. The owner should be consulted regarding any screens that may be in storage.

- Improve:  Some doors do not shut and/or latch properly; for example: the front center bedroom and closet.  The doors should be trimmed if necessary, or the hinges and striker plate hardware should be adjusted as necessary so that each of the doors shuts and latches.

- Improve:  Some of the closet doors do not work well because the hardware is worn out or needs to be adjusted.  I recommend adjusting or replacing the hardware as necessary to make the doors work properly. The closet door in the front right bedroom is upside down.  The hinges and latches in the basement bedroom closet are not correct for this kind of door.

- Monitor:  The stained ceiling tiles in the basement bathroom will need to be repainted or replaced.

- Monitor:  The installation of the interior finishes in the basement is of amateur quality.  This is a cosmetic issue only, and it may be possible to improve the appearance by touching up the plastering and then re-painting.  However, once work like this is poorly done it is sometimes difficult to improve the appearance without completely replacing it.

## limitations of Interior inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions

- Furniture, storage, appliances and/or wall hangings are not moved to permit inspection and may block defects.

- Carpeting, window treatments, central vacuum systems, household appliances, recreational facilities, paint, wallpaper, and other finish treatments are not inspected.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Fireplaces / Wood Stoves

## description of Fireplaces / Wood Stoves

Fireplaces: 	Free Standing Gas Stove

Vents, Flues, Chimneys: 	None

## Fireplaces / Wood Stoves observations

The woodstove does not appear to have been installed in accordance with manufacturer’s installation guidelines.

### recommendations / observations

- Repair, Safety Issue:  The installation of the wood stove does not appear to have been professionally performed.  The clearance requirements listed on the date plate are not satisfied.  Also, the unit was installed on the carpet.  This seems to be satisfactory, but using a non-flammable base would be an improvement.  This represents a potential fire hazard. It is recommended that a specialist be consulted for a further evaluation of this condition and the remedies available.

## limitations of Fireplaces / Wood Stoves inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions

- The interiors of flues or chimneys are not inspected.

- Firescreens, fireplace doors, appliance gaskets and seals, automatic fuel feed devices, mantles and fireplace surrounds, combustion make-up air devices, and heat distribution assists (gravity or fan-assisted) are not inspected.

- The inspection does not involve igniting or extinguishing fires nor the determination of draft.

- Fireplace inserts, stoves, or firebox contents are not moved.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# Appliances

## description of Appliances

Appliances Tested: 	Electric Range  Refrigerator  Dishwasher  Waste Disposer  Clothes Washer  Clothes Dryer

Laundry Facility: 	240 Volt Circuit for Dryer  Dryer Vented to Building Exterior  Washer Discharges to Laundry Tub

Other Components Tested: 	Door Bell  Ice Maker

## Appliances observations

The appliances are middle aged. As such, they will become slightly more prone to breakdowns; however, several years of serviceable life should remain.  All appliances that were tested responded satisfactorily.  The kitchen and laundry facilities are average.  The kitchen cabinetry is above average quality.

### recommendations / observations

- Monitor:  The clothes washer and dryer are older. While replacement is not needed right away, it would be wise to budget for a new set.  In the interim, a higher level of maintenance can be expected.

- Monitor:  The icemaker lid inside the freezer is missing. Also, the kick plate is off.

- Improve:  The sink is stained and marred to the point where replacement would be a good upgrade.

- Improve:  The door bell is inoperative.

## limitations of Appliances inspection

As we have discussed and as described in your inspection contract, this is a visual inspection limited in scope by (but not restricted to) the following conditions

- Thermostats, timers and other specialized features and controls are not tested.

- The temperature calibration, functionality of timers, effectiveness, efficiency and overall performance of appliances is outside the scope of this inspection.

Please also refer to the pre-inspection contract for a detailed explanation of the scope of this inspection.

# General Advice

### keeping the basement dry

- Grading and Downspouts:  During the inspection every effort was made to locate evidence of moisture problems in the basement, including a visible inspection and the use of a moisture meter.  A  mildew or moldy smell is also symptomatic of a moisture problem.   It should be understood that it is impossible to predict whether moisture penetration will pose a problem in the future.  The vast majority of basement leakage problems are the result of insufficient control of storm water at the surface.  The ground around the house should be sloped to encourage water to flow away from the foundations.  Gutters and downspouts should act to collect roof water and drain the water at least five (5) feet from the foundation, or into a functional storm sewer.  Downspouts that are clogged or broken below grade level, or that discharge too close to the foundation, are the most common source of basement leakage.  The grading should also promote the flow of storm water away from the house. This can often be accomplished by the addition of top soil. The ground should slope away from the house at a rate of one inch per foot for at least the first several feet. At least several inches of clearance should be maintained between soil level and the bottom of exterior wall siding.  In the event that basement leakage problems are experienced, lot and roof drainage improvements should be undertaken as a first step.  Please beware of contractors who recommend expensive solutions.  Excavation, damp-proofing and/or the installation of drainage tiles should be considered a last resort.  In some cases, however, it is necessary.

### Roofing and exterior

- Gutter Guards:  If not already done, covering the gutters with a high quality gutter cover would help to avoid congestion with leaves and debris.

- Painting and Caulking:  Be advised that it is essential to keep any wood trim well painted to prevent rot.  In addition, the caulking at the windows and doors should be kept in good condition to keep water out of the house.  To reduce long term maintenance and improve appearance, it may be advantageous to install aluminum soffit and fascia (if not already done).  Any penetrations of the exterior walls should also be kept well sealed.  Penetrations typically occur at the main electric line leading into the house, the gas line, the hose bibs, the telephone and cable connections, etc.

- Bushes:  Bushes should be kept pruned back to keep them away from the house.

- Deck:  I strongly recommend periodically checking the lag screws or carriage bolts that secure the deck to the house to ensure that they are tight; this is an easy but important thing to verify.  If there is ever any concern about the strength of the attachment of the deck to the house, a girder can be installed to support the joists near the house which will make the deck free standing.  See the following website for deck attachment details: http://www.fairfaxcounty.gov/dpwes/publications/decks/details.pdf

- Firewood:  Firewood should not be stored against the house.  Firewood against the house will attract termites.

- Garage Door Springs:  If not already done, the installation of safety cables (a cable that goes through the spring to contain the pieces if the spring breaks) would improve safety during operation.

### Electrical

- GFCI’s:  The use of ground fault circuit interrupter (GFCI) outlets has expanded over the years to the point where they are currently recommended in the bathrooms in the kitchen and laundry rooms (within 6 feet of the sinks), at whirlpools, hot tubs and or swimming pool equipment, and all garage outlets (unless they serve a dedicated purpose such as for a freezer).  A GFCI offers increased protection from shock or electrocution.  I recommend adding GFCI’s where they are currently not installed.

- AFCI’s:  Arc fault circuit interrupter (AFCI) circuit breakers have been in use since 2005 in new construction.  They are used for bedroom circuits and have the capability of detecting an arc fault, which can lead to a fire, in a circuit.  When detected, the AFCI will trip and cut off power to that circuit.

### Heating and Cooling

- Humidifier Maintenance:  An improperly maintained humidifier can represent a health risk.  The humidifier should be properly secured and cleaned after each heating season.  The water should be turned off at the source, the damper shut (to eliminate air flow through the unit), and the water panel or drum removed and cleaned or replaced.

- AC’s and Heat Pumps:  An air conditioner or heat pump relies upon good air flow through both the indoor and outdoor units.  The filter in the indoor unit should be replaced at least quarterly or as recommended by the installation instructions (some filters can stay in place longer).  The coil in the outdoor unit should be checked periodically and cleaned as necessary.  This is particularly important if the dryer exhaust is nearby.  Bushes and grass should be kept clear of the outdoor unit to provide unobstructed air flow.  Systems can experience a leak-down of the refrigerant charge over time.  This can result in less than optimum performance of the system.  It is advisable to have the systems routinely serviced to maximize efficiency.

### Plumbing

- Water Heater Temperature:  The water heater temperature should be kept at a setting such that accidental scalding is minimized.  Families with small children should be especially aware of this.

- Backflow Prevention Devices:  These devices, also known as vacuum breakers and anti-siphon devices are designed to reduce the potential of a backflow of tainted water into a potable water supply.  They are usually installed at laundry tubs with garden hose connections, and at exterior hose bibs.  These devices are now required on all new homes and are regarded as an important upgrade on older homes.  I recommend the addition of backflow prevention devices at the exterior hose bibs, and at the laundry tub unless the devices are already present at these fixtures.  The devices are available at home centers or plumbing supply stores and can easily be installed by the homeowner since they screw-on and are secured with a set screw.

- Bathtub Overflow Devices:  The seals for the bathtub overflow piping will typically deteriorate and become prone to leakage within about 7 years from the time of installation.  The seals are not tested as part of this inspection because of the high potential for leakage and potential damage to interior surfaces.  Damaged or deteriorated seals should be replaced.  Be aware that the overflow is purely a safety drain in case a tub is left on, and is not part of the everyday drains of the plumbing system.

### Wells and Septics (if applicable)

- Acidic Well Water:  Well water is normally acidic which can eventually result in pin-hole leaks in copper piping or premature wear of the metal components in the fixtures if left untreated.  It is strongly recommended that the water be tested and that consideration be given to the installation of a water neutralizer if there is not one installed.  If there is a water neutralizer it should be properly maintained on a regular basis.

- Well Yield: Please be aware that while the well was vigorously exercised during the inspection this is not the same as a yield  test.  A yield test is the only way to determine the capacity of a well.  There are three main factors that determine a well’s yield.  One is the amount of reserve water that is in the well under quiescent conditions when there are no demands on it.  The second is the recovery rate of the well once the reserve water has been pumped out.  The third is the flow rate from the pump with two or more fixture running simultaneously.  The minimum acceptable yield of a well is normally 1 gallon per minute.  If any of the factors mentioned above are not considered acceptable, a larger submersible pump and/or a larger cold water storage tank may be necessary.  If there are any concerns about the well, it is recommended that a yield test be conducted.

- Septic Tank:  The private sewer system which is beneath the yard cannot be thoroughly evaluated during an inspection.  Although no clogs were evident at the time of the inspection, it must be assumed that the drain line and system are original.  They typically last in excess of 30 years, but the proximity of tree roots in the vicinity of the drainage pipes can result in premature failure.  It would be wise to consider removal of trees in close proximity to the septic system.

### Appliances

- Dryer Ducting:  White flexible plastic dryer ducting does not hold up well under higher temperatures and should not be used.  They also usually develop sags which can collect lint thereby becoming a fire hazard.  Any plastic ducting should be replaced with rigid or flexible metal ducting.

- Washing Machine Hoses:  Rubber washing machine hoses should be monitored for deterioration.  At the first sign of cracking or deterioration, they should be replaced.  Stainless steel hoses are a good upgrade since they are stronger.

### Health and safety Issues

- Water Heater Temperature:  The water heater temperature should be kept at a setting such that accidental scalding is minimized.  Families with small children should be especially aware of this.

- Smoke and Carbon Monoxide (CO) Detectors:  Smoke and CO detectors save lives.  At least one working smoke detector should be installed on each level of the home.  Ideally, a smoke detector should be installed in each bedroom.  Studies have shown that smoke detectors do not typically last longer than about 10 years.  Replacement is recommended at that age.  Electrically powered detectors with a battery backup are the safest.  These units should be tested, maintained, and replaced according to the manufacturer’s recommendations.  CO gases distribute evenly and fairly quickly throughout the house; therefore, a CO detector should be installed on the wall or ceiling in sleeping area/s but outside individual bedrooms to alert occupants who are sleeping.

- Carbon Monoxide:  Concern about carbon monoxide (CO) has increased in recent years.  Carbon monoxide is the by-product of incomplete combustion from furnaces, stoves, ovens and water heaters that burn natural gas, and from blocked fireplace chimney flues.  The best way to avoid carbon monoxide poisoning is to have fuel burning appliances (such as the furnace and water heater) inspected annually by a qualified technician.  Installation of UL listed carbon monoxide detectors outside sleeping areas and near fuel burning appliances are also strongly recommended.  Danger signs to watch for include:

- • streaks of carbon or soot around the access door for the furnace or water heater;

- • the lack of a draft in the chimney;

- • excessive rusting on flue pipes;

- • moisture collecting on the windows and walls of the utility room;

- • small amounts of water leaking from the base of the chimney or flue pipe;

- • rust on the exterior parts of the vent pipe.

- Asbestos:  Asbestos is a mineral fiber that has been used commonly in a variety of building construction materials for insulation and as a fire-retardant.  Asbestos is most commonly found in older homes, in pipe and furnace insulation materials, asbestos shingles, millboard, textured paints and other coating materials, and floor tiles.  The Environmental Protection Agency (E.P.A.) reports that asbestos represents a health hazard if “friable” (damaged, crumbling, or in any state that allows the release of fibers). If replacement of equipment or remodeling necessitates the removal of the asbestos containing insulation, an asbestos removal specialist should be engaged. If any sections of this insulation are indeed friable, or become friable over time, a specialist should also be engaged.  There may be materials within the home that contain asbestos but are not identified by this inspection report. Identification of asbestos requires laboratory testing that is not part of a home inspection.  For more information see the EPA website: http://www.epa.gov/asbestos/, and the CPSC website: http://www.cpsc.gov/CPSCPUB/PUBS/453.html.

- Lead Paint:  Lead based paint was in use until approximately 1978. According to the Federal Department of Housing and Urban Development, a lead hazard can be present in a house of this age. This can only be confirmed by laboratory analysis. An evaluation of lead in paint is beyond the scope of this inspection. For more information, consult the Environmental Protection Agency (E.P.A.) for further guidance and a list of testing labs in your area.  See the EPA website: http://www.epa.gov/lead/, and the CPSC website: http://www.cpsc.gov/CPSCPUB/PUBS/5054.html.

- Folding Stairs:  Folding stairs used for access to an attic are rarely installed properly and as such can represent a significant safety hazard.  Generally, sixteen 16D sized nails should be used in the perimeter of the frame to secure it to the rafters/trusses.  Four of the nails are supposed to go through the empty holes in the spring plates and the hinge plates.  Drywall screws, while often used, are not rated for this application because they are brittle and have little shear strength.  See the manufacturer’s installation guidelines for confirmation of the specific installation instructions.  Any folding stair should be checked periodically to ensure that all of the screws are secure and that the hinges are working properly.  An improperly maintained folding stair represents a significant safety hazard.

# Maintenance Advice

## Prevention is the best approach

Although we’ve heard it many times, nothing could be more true than the old cliché “an ounce of prevention is worth a pound of cure.”  Preventative maintenance is the best way to keep your house in great shape.  It also reduces the risk of unexpected repairs and improves the odds of selling your house at fair market value, when the time comes.

Please feel free to contact our office should you have any questions regarding the operation or maintenance of your home.  Enjoy your home!

## upon taking ownership

After taking possession of a new home, there are some maintenance and safety issues that should be addressed immediately.  The following checklist should help you undertake these improvements:

- Change the locks on all exterior entrances, for improved security.

- Check that all windows and doors are secure.  Improve window hardware as necessary.  Security rods can be added to sliding windows and doors.  Consideration could also be given to a security system.

- Install smoke detectors on each level of the home.  Ensure that there is a smoke detector outside all sleeping areas.  Replace batteries on any existing smoke detectors and test them.  Make a note to replace batteries again in one year.

- Create a plan of action in the event of a fire in your home.  Ensure that there is an operable window or door in every room of the house.  Consult with your local fire department regarding fire safety issues and what to do in the event of fire.

- Locate the main shut-offs for the plumbing, heating and electrical systems.  If you attended the home inspection, these items would have been pointed out to you.  If you cannot find them, call us.

## regular maintenance

### every month

- Check that fire extinguisher(s) are fully charged.  Re-charge if necessary.

- Examine heating/cooling air filters and replace or clean as necessary.

- Ensure that gutters and downspouts are working properly.

### spring and fall

- Examine the roof from the exterior for evidence of damage to roof coverings, flashings and chimneys.

- Look in the attic (if accessible) to check for evidence of leakage, condensation or vermin activity.

- Trim back tree branches and shrubs to ensure that they are not in contact with the house or roof.

- Inspect the exterior walls and foundation for evidence of damage, cracking or movement.

- Survey the basement and/or crawl space walls for evidence of moisture seepage.

- Look at any overhead wires coming to the house.  They should be secure and clear of trees or other obstructions.

- Ensure that the grade of the land around the house encourages water to flow away from the foundation.

- Test all ground fault circuit interrupter (GFCI) devices, as identified in the inspection report.

- Shut off isolating valves for exterior hose bibs in the fall, if below freezing temperatures are anticipated.

- Inspect for evidence of wood boring insect activity.  Eliminate any wood/soil contact around the perimeter of the home.

- Test the overhead garage door opener, to ensure that the auto-reverse mechanism is responding properly.  Clean and lubricate hinges, rollers and tracks on overhead doors.

### annually

- Replace smoke detector batteries.

- Have the heating, cooling and water heater systems cleaned and serviced.

- Have chimneys inspected and cleaned if they are used.  Ensure that rain caps and vermin screens are secure.

- If the property has a septic system, have the tank inspected (and pumped as needed – typically every 3-4 years).

- If your home is in an area prone to wood destroying insects (termites, carpenter ants, etc.), have the home inspected by a licensed specialist.  Preventative treatments may be recommended in some cases.

# Photo Summary

Siding in Dirt  				Driveway on Siding

Old AC Unit					Sump Discharge

Flashing Collar 				Leak at Furnace Condensate

# Photo Summary

Water Heater needs screws			Mold in Corner

Pipe into Drain 					Gas stove

Aluminum Wiring			Kitchen Sink Stains

Vent under cabinet in Kitchen