Workplace Inspection Checklist 1

(Common Areas, Teaching Rooms, Libraries and Offices)

| Building |  | Room number(s) and name(s) |  |
| --- | --- | --- | --- |
| Department/Faculty |  |  |  |
| Inspection date |  | Date of report |  |
| Inspection team | 1 | 2 | 3 |
|  | Minimum of two people:- Safety coordinator /Technician/Manager /Union Representative |  |  |

Instructions:

- This inspection form applies to areas such as; lecture theatres, teaching rooms, libraries, offices, staff kitchens and common rooms, corridors and reception spaces. Use Workplace Inspection Checklist 2 for Laboratories, science stores etc, Workplace Inspection Checklist 3 for Workshops and

Studios and Workplace Inspection Checklist 4 for Cold rooms, tissue laboratories etc.

- If the item is not relevant for that particular area, write NA (Not Applicable) in the ‘check’ box.

- If there are no problems under a particular item, tick the ‘check’ box ().

- If there is a problem, put a cross in the ‘check’ box (X) and in ‘Comments’ a brief description what is wrong

- If you do sort it out immediately, still describe the problem and what you did and tick the relevant box if further action is required

- After the inspection, send the checklist to your Line Manager/safety coordinator, who will track the actions and send a copy to the K Drive – Health & Safety Coordinators section.

| Item |  | No Action Green | Action Amber | Urgent Action Red | Comments |
| --- | --- | --- | --- | --- | --- |
| Slips Trips and Falls |  |  |  |  |  |
| 1 | Floors and stairs in good condition and have even surfaces (no cracks or holes) |  |  |  |  |
| 2 | Carpeting is securely fitted, with no loose ends |  |  |  |  |
| 3 | Area is generally tidy and the floor free of clutter |  |  |  |  |
| 4 | Are spills cleaned up immediately by everyone |  |  |  |  |
| 5 | Do water machines/machinery leak |  |  |  |  |
| 6 | Are there any trailing leads that pose a trip hazard |  |  |  |  |
| 7 | Walkways, landings and corridors clear of obstructions and trip hazards (e.g. cables) |  |  |  |  |
| 8 | Is there enough storage space and shelving is available |  |  |  |  |
| 9 | Are waste disposal facilities suitable for the area |  |  |  |  |
| 10 | Do stairwells have securely fixed handrails |  |  |  |  |
| Fire Safety |  | No Action Green | Action Amber | Urgent Action Red | Comments |
| 11 | Are all employees and contractors fully aware not to block or store materials in front of or behind fire exits |  |  |  |  |
| 12 | Fire doors and exits clearly marked, kept clear on both sides at all times, never left open |  |  |  |  |
| 13 | Fire extinguishers present in marked locations and display a current inspection label/tag? |  |  |  |  |
| 14 | Emergency exit signs in place and show correct routes, with no conflicting signage? |  |  |  |  |
| 15 | Can final fire exit doors be opened from the inside (not padlocked) |  |  |  |  |
| 16 | Fire doors should NOT be wedged open, battery operated ‘Dorlocks’ are permitted |  |  |  |  |
| 17 | Are fire door viewing panels kept clear? Paper covering on the corridor side of viewing panels is permitted |  |  |  |  |
| 18 | Is the emergency fire and evacuation procedure displayed next to call point(s) |  |  |  |  |
| 19 | Are the alarm signals clearly audible? and not too loud |  |  |  |  |
| 20 | Have employees been instructed in the fire evacuation procedures in the event of an emergency? |  |  |  |  |
| 21 | Are Personal Emergency Evacuation Plans in place for people with disabilities |  |  |  |  |
| 22 | Is the Assembly point signage clear and visible |  |  |  |  |
| 23 | Can fire doors open easily and close fully? And is the self closer working correctly? |  |  |  |  |
| 24 | Are there fire marshals on each floor/area |  |  |  |  |
| 25 | Does the building have a Fire Liaison Officer |  |  |  |  |
| 26 | Do kitchens contain a fire blanket |  |  |  |  |
| Equipment |  | No Action Green | Action Amber | Urgent Action Red | Comments |
| 27 | Projection screens are securely fixed to the wall/ceiling |  |  |  |  |
| 28 | In general electrical equipment bears a current inspected/ tested label and is not obviously damaged (including extension leads) |  |  |  |  |
| 29 | All power sockets and switches are in good condition (not loose or damaged) |  |  |  |  |
| 30 | Microwave ovens have been regularly tested for leaks |  |  |  |  |
| 31 | Extension leads are not overloaded or daisy chained |  |  |  |  |
| 32 | Furniture is stable and undamaged |  |  |  |  |
| 33 | Equipment (Stepladders, Kickstools) used to access equipment stored correctly |  |  |  |  |
| 34 | Is working at height equipment correctly tagged and displays a current inspection in date? |  |  |  |  |
| 35 | All office workstations have been assessed by the user |  |  |  |  |
| 36 | Each filing cabinet can only have one drawer open at a time |  |  |  |  |
| 37 | There is no unwanted (obsolete or damaged) equipment |  |  |  |  |
| 38 | Manual handling aids (trolleys, sack trucks etc.) are in good condition, inspected and labelled |  |  |  |  |
| 39 | Have risk assessments been done and are control measures being implemented |  |  |  |  |

| Item |  | No Action Green | Action Amber | Urgent Action Red | Comments |
| --- | --- | --- | --- | --- | --- |
| General area |  |  |  |  |  |
| 40 | Is lighting adequate and operational? |  |  |  |  |
| 41 | Sufficient plug sockets. Broken sockets or overloaded |  |  |  |  |
| 42 | Heating is adequate for the area and use within the area |  |  |  |  |
| 43 | Air conditioning is adequate and blows in the correct direction. The thermostat is fully functioning |  |  |  |  |
| 44 | Windows are suitable and not draughty. Closures and safety catches are working correctly |  |  |  |  |
| 45 | Blinds are fully functional and not broken or missing sections |  |  |  |  |
| 46 | Layout of furniture area is adequate and allows plenty of space between objects |  |  |  |  |
| 47 | Shelving and storage is sufficient. Shelving is not too high or overloaded |  |  |  |  |
| 48 | The doors are fully functioning. Door furniture in tact an fully operational |  |  |  |  |
| 49 | Is there any Asbestos Containing Materials (ACMs), in the area? and is the Estates warning signage in place – See guidance note |  |  |  |  |
| 50 | Are noise levels adequately controlled? |  |  |  |  |
| 51 | Ceiling tiles missing or damaged, showing signs of dampness or mould |  |  |  |  |
| 52 | Walls showing damage, dampness or mould |  |  |  |  |
| 53 | Waste removal adequate. Recycling bins provided |  |  |  |  |
| 54 | Accommodation for clothing. Suitable hangars, coat rack provided |  |  |  |  |
| 55 | Sufficient floor space/dimensions. To allow people to move around with ease |  |  |  |  |
| 56 | Furniture is stable and undamaged |  |  |  |  |