CONSTRUCTION SITE VISIT REPORT Site Inspection • Progress Review • Health & Safety Observations

1. PROJECT & VISIT INFORMATION

| Project Name | Project Title | Report No. | SVR-014 |
| --- | --- | --- | --- |
| Site Address | Plot / Street / City | Visit Date & Time | 02/10/2026 10:00-12:30 |
| Client | Client Name | Contractor | Contractor Name |
| Visited By | Name, Designation | Weather | Clear, 30°C |

2. PURPOSE OF VISIT

☐ Progress Review    ☐ Quality Inspection    ☐ Safety Audit    ☐ Client Walk-through    ☐ Snagging    ☐ Other: ________

3. WORK PROGRESS SUMMARY

| Work Package / Activity | Planned % | Actual % | Status | Comments |
| --- | --- | --- | --- | --- |
| Substructure & foundations | 100% | 100% | Complete | Signed off |
| Ground floor slab | 90% | 80% | Behind | Rebar delivery delayed by 3 days |
| Blockwork - Level 1 | 30% | 35% | Ahead | Additional mason gang on site |

4. RESOURCES ON SITE

| Labour (Total) |  | Plant / Equipment |  |
| --- | --- | --- | --- |
| Subcontractors |  | Materials Delivered |  |

5. OBSERVATIONS, ISSUES & ACTIONS

| # | Observation | Type | Action Required | By Whom | Due |
| --- | --- | --- | --- | --- | --- |
| 1 | Edge protection missing on Level 1 slab | Safety | Install guardrails before work resumes | Contractor | Immediately |
| 2 | Honeycombing on column C3 | Quality | Engineer to assess; repair method statement | Site Engineer | 06/10/2026 |

6. SITE PHOTOGRAPHS

| [Insert photo here] | [Insert photo here] |
| --- | --- |
| Photo 1: Caption / location | Photo 2: Caption / location |

7. CONCLUSION & NEXT VISIT

Overall site condition:  ☐ Excellent   ☐ Satisfactory   ☐ Needs Improvement   ☐ Unsatisfactory

Summary: ______________________________________________________________________________

Next visit date: ____________      Distribution: Client / PM / Contractor / File

| Prepared By | Reviewed By | Received By (Site Rep.) |
| --- | --- | --- |
| Name: Signature: Date: | Name: Signature: Date: | Name: Signature: Date: |